## Sheet 1
Spreadsheet Protected but not password protectd
Values in yellow may be changed with protection ON
|  |  | Panels |  |  |  | Yearly
|  |  | Total |  |  |  | Consumption
|  | Roches | 4 |  |  |  | kWh
|  | Point | kWp |  |  |  | 3315
|  | Solar | Grid | Efficiency | Grid | Daily | Daily |  | Monthly
| Cork | Irradiation | Input | Factors | Output | Output | Consumption | imp/exp | imp/exp
| 2024 | kWh/m2 | kWh | Factor | kWh | kWh | Kwh | Kwh | Kwh
| Jan | 26.28 | 105.12 | 0.847 | 89.0366 | 2.8721 | 9.0822 | 6.21 | 192.5113
| Feb | 45.88 | 183.52 | 0.847 | 155.4414 | 5.5515 | 9.0822 | 3.5307 | 98.8599
| Mar | 77.39 | 309.56 | 0.836 | 258.7922 | 8.3481 | 9.0822 | 0.73406 | 22.7558
| Apr | 121.04 | 484.16 | 0.819 | 396.527 | 13.2176 | 9.0822 | -4.1354 | -124.0613
| May | 157.3 | 629.2 | 0.807 | 507.7644 | 16.3795 | 9.0822 | -7.2973 | -226.2165
| June | 171.16 | 684.64 | 0.792 | 542.2349 | 18.0745 | 9.0822 | -8.9923 | -269.7691
| July | 144.68 | 578.72 | 0.787 | 455.4526 | 14.692 | 9.0822 | -5.6098 | -173.9047
| Aug | 126.36 | 505.44 | 0.798 | 403.3411 | 13.011 | 9.0822 | -3.9288 | -121.7932 | EXPORT
| Sep | 89.14 | 356.56 | 0.807 | 287.7439 | 9.5915 | 9.0822 | -0.50927 | -15.7874 | 931.5322
| Oct | 48.34 | 193.36 | 0.814 | 157.395 | 5.0773 | 9.0822 | 4.0049 | 112.1381
| Nov | 21.38 | 85.52 | 0.844 | 72.1789 | 2.406 | 9.0822 | 6.6762 | 186.9344
| Dec | 6.87 | 27.48 | 0.847 | 23.2756 | 0.75082 | 9.0822 | 8.3314 | 233.2783
| Totals | 1035.82 | 4143.28 |  | 3349.1837
Solar Roches Point 01/01/2022 to 17/7/22 |  |  |  |  | 665 | kWh/m2 |  |  |  | Imported
Solar Roches Point 01/01/2023 to17/7/23 |  |  |  |  | 643 | kWh/m2 |  |  |  | Elec cost | 0.34 | /Kwh
Solar Roches Point 01/01/2024 to 17/7/24 |  |  |  |  | 663 | kWh/m2 |  |  |  | FIT | 0.21 | /Kwh
Solar Roches Point 01/01/2025 to 17/7/25 |  |  |  |  | 703 | kWh/m2 | Import | 846.4778 |  | No Solar | 1127.1 | Yearly
[7 empty] | Export | 931.5322 |  | With Solar | -92.1807 | Yearly | Credit if positive
[10 empty] | Saving | 1034.9193 | Yearly
|  |  | Panels |  |  |  | Yearly
|  |  | Total |  |  |  | Consumption
|  | Roches | 6 |  |  |  | kWh
|  | Point | kWp |  |  |  | 3315
|  | Solar | Grid |  |  | Daily | Daily |  | Monthly
| Cork | Irradiation | Input | Efficiency | Output | Output | Consumption | imp/exp | imp/exp
| 2024 | kWh/m2 | kWh | Factors | kWh | kWh | Kwh | Kwh | Kwh
| Jan | 26.28 | 157.68 | 0.847 | 133.555 | 4.3082 | 9.0822 | 4.774 | 147.993
| Feb | 45.88 | 275.28 | 0.847 | 233.1622 | 8.3272 | 9.0822 | 0.75497 | 21.1392
| Mar | 77.39 | 464.34 | 0.836 | 388.1882 | 12.5222 | 9.0822 | -3.44 | -106.6403
| Apr | 121.04 | 726.24 | 0.819 | 594.7906 | 19.8264 | 9.0822 | -10.7442 | -322.3248
| May | 157.3 | 943.8 | 0.807 | 761.6466 | 24.5692 | 9.0822 | -15.4871 | -480.0987
| June | 171.16 | 1026.96 | 0.792 | 813.3523 | 27.1117 | 9.0822 | -18.0296 | -540.8866
| July | 144.68 | 868.08 | 0.787 | 683.179 | 22.038 | 9.0822 | -12.9558 | -401.631
| Aug | 126.36 | 758.16 | 0.798 | 605.0117 | 19.5165 | 9.0822 | -10.4343 | -323.4637
| Sep | 89.14 | 534.84 | 0.807 | 431.6159 | 14.3872 | 9.0822 | -5.305 | -164.4551 | EXPORT
| Oct | 48.34 | 290.04 | 0.814 | 236.0926 | 7.6159 | 9.0822 | 1.4663 | 45.4554 | 2339.5002
| Nov | 21.38 | 128.28 | 0.844 | 108.2683 | 3.6089 | 9.0822 | 5.4732 | 169.6707
| Dec | 6.87 | 41.22 | 0.847 | 34.9133 | 1.1262 | 9.0822 | 7.956 | 246.6346
| Totals | 1035.82 | 6214.92 |  | 5023.7756
Solar Roches Point 01/01/2022 to 17/7/22 |  |  |  |  | 665 | kWh/m2 |  |  |  | Imported
Solar Roches Point 01/01/2023 to17/7/23 |  |  |  |  | 643 | kWh/m2 |  |  |  | Elec cost | 0.34 | /Kwh
Solar Roches Point 01/01/2024 to 17/7/24 |  |  |  |  | 663 | kWh/m2 |  |  |  | FIT | 0.21 | /Kwh
Solar Roches Point 01/01/2025 to 17/7/25 |  |  |  |  | 703 | kWh/m2 | Import | 630.8929 |  | No Solar | 1127.1 | Yearly
[7 empty] | Export | 2339.5002 |  | With Solar | 276.7915 | Yearly | Credit if positive
[10 empty] | Saving | 1403.8915 | Yearly